## Notes
Notes - Log basic information and observations about the input samples and library preparation on this sheet.
LIBRARY OVERVIEW
SEQID
Brief description of samples in this library prep
Lib type
Plate format
Number of samples (not including water)
Number of water (not including samples)
Input RNA samples for library prep
Start Date
Experimenters
NOTES ON INPUT RNA
NOTES ON LIBRARY PREP - cDNA synthesis
NOTES ON LIBRARY PREP - amplicon generation, pooling, cleanup, quantitation
NOTES ON LIBRARY PREP - tagmentation and index PCR
NOTES ON LIBRARY PREP - pooling, cleanup, and QC
*Include final volumes and molarity for submission
*if two seqs: calculations and notes

## 1) RT & Amplicon PCR
| Ct Value | Dilution
| <15 | 1:10
| >15 | No dilution
| CN Value | No Dilution
STEP 1. STAMP FOUR 96 PLATES INTO A 384 PLATE - BRAVO TRANSFER
1 | Use the Bravo to transfer 3uL from the working plates into a 384 well plate. 3uL is added such that 0.25uL is expected to be lost as dead volume and a net 2.75uL is dispensed into a well.
2 | Turn on Bravo and Inheco
3 | Open file "Bravo96_COVID-19.dev" on the computer
COMET_BRAVO_Protocols -> Device Files -> Bravo96_COVID-19.dev
4 | Initialize Bravo
When ask if there is a plate present in, or in front of the gripper's plate presence, choose "Ignore and Continue, leaving device in current state"
When it asks to verify that it is safe to home the W-axis, choose "Retry" to continue homing the W-axis
5 | Open Diagnostics Mode and choose option "Bravo-1"
6 | Place 96-well tips on deck 2, W-1 unsealed on deck 5, and select proper labware
7 | For deck 2 (96-well tips): on the "Command Parameters" tab, select "Tips On" option from the Command to execute panel
8 | For deck 5 (working plate): select options below from the Command to execute panel
Aspirate Properties: (labware: 96 hardshell biorad)
| Volume (0-251µL) | 3
| Pre-aspirate volume (0-251uL) | 2
| Post Aspitate Volume (0-251uL) | 2 |  |  |  |  | Additional EDITS to include:
| Liquid class | 2-10µL
| Distance from well bottom (0-100mm) | 0 (unskirted)/ 2 (skirted)
| Dynamic tip extension (0-20 mm/uL) | n/a |  |  |  |  | *update seq team on steps/timeline throughout process (start lib prep, multiplexing, qc stages)
| Perform tip touch | No |  |  |  |  | *naming convention for primer pools-- consistency
| Pipette technique | n/a | --> Execute command |  |  |  | Using LDV reservoir on Dragonfly, dispense 3.5μL of the multiplex PCR master mix #1 into each well of a new Biorad, skirted 384-well (Pool A and Pool B)
9 | Check that all tips aspirated correct volume, remove and seal W-1 | [5 empty] | *protocol on dragonfly-- dispense ~1420µL into reservoir for each primer pool, resetting the Dragonfly between uses-- standard volume: ____ µL
10 | Place 384-L plate on deck 5 | [5 empty] | *LDV accounts for Q5 bubbly
| Change labware to 384 Biorad hardshell and select quadrant A1 | [5 empty] | *add seal types for each step
| Dispense Properties: (labware: 384 hardshell biorad) | [5 empty] | *rolls of seals only used to spin down and use right away-- temporary, no -80°C
| Empty tips | Yes |  |  |  |  | *use foil seal roll for pre-pcr
| Liquid class | 2-10µL |  |  |  |  | *after amplicon stage -- foil only, no plastic
| Distance from well bottom (0-100mm) | 2 |  |  |  |  | *single foil seal -80°C only
| Perform tip touch | Yes, North/South
| Tip retraction distance (0-20 mm/uL) | 6
| Pipette technique | n/a | --> Execute command
Place library plate (384-well plate) on deck 6
Tips "OFF" and replace with new tips (**note: always remove plates before moving tips to mitigate contamination)
Repeat process for W-2, W-3, and W-4 in quadrants A2, B1, and B2 respectively
Seal and spin down plates.
Submit sequencing request form to the sequencing team and update covid_mngs
STEP 2. dNTPS HEXAMER PRIMING REACTION - ECHO TRANSFER
Fixed # of Reactions
|  |  |  | 400 | this master mix is already made for you (stored in pre-PCR -20). make more as shown on the left if needed
|  |  | 1x Reaction Volume (uL) | Master Mix (uL) |  | single use aliquots contains (mixed together in 1 tube)-- location:
|  | NEB Random Primers | 0.25 | 168.6 |  | 170uL Random Primers
|  | 10mM dNTP | 0.25 | 168.6 |  | 170uL dNTPs
|  | RNA Sample | 2.75
|  | Total | 3.25 | 337.2
|  |  | # source wells: | 6
|  |  | uL/well: | 54.6
|  |  | source well transfer (nL) | 500
Pipette into 384 Echo plate A1-F1
1 | Thaw STEP 2 reagents on ice. Mix and spin down. Do not vortex enzymes.
2 | Make the master mix for STEP 2 inside of a hood using suggested calculations above (Premade and aliquoted. Location: -20 prePCR)
3 | Add 54.6uL of STEP 2 master mix into each well for wells A1-F1 of a PP 2.0 Plus Echo Source Plate.
Seal the plate after adding the master mixes.
5 | Spin down at max speed for 7 minutes at max speed, bring the mixes to room temperature and ensuring that there are no bubbles in wells.
6 | Create new folder including the ECHO dNTPs_Hexamers_4quadrants protocol and ReverseTranscriptase_4quadrants and label SEQ_XX.
7 | Use the ECHO dNTPs_Hexamers_4quadrants protocol to transfer 500nL into all wells. *plates at room temp
8 | Place the plate into the thermocycler following the program below.
9 | Immediately snap cool on ice for 1 min after the 65°C incubation.
10 | Seal the plate and spin it down for the next step.
| Program | Incubation
| Lid | 105°C
| Vollume | 3.25μL
|  | Temp | Time
| Step 1 | 65°C | 5min
| Step 2 | 4°C | hold
STEP 3. REVERSE TRANSCRIPTION REACTION - ECHO TRANSFER
Fixed # of Reactions
400
|  |  | 1x Reaction Volume (uL) | Master Mix (uL) | Preparation of individual single use aliquots contain (4 separate tubes):
|  | 5x SuperScript IV Buffer | 1 | 644.6 | 650uL 5x SSIV buffer
|  | 100mM DTT | 0.25 | 161.2 | 165uL 100mM DTT
|  | RNaseOUT RNase Inhibitor | 0.25 | 161.2 | 165uL RNaseOUT (approx 1.2 tubes)
|  | SuperScript IV Reverse Transcriptase | 0.25 | 161.2 | 165uL SSIV RT (approx 3.3 tubes)
|  | Annealed Template RNA | 3.25 |  | *Stocks located in -20 PCR: box labelled "SSIV reagents"
|  | Total | 5 | 1128.2
|  |  | # source wells: | 19
|  |  | uL/well: | 55
|  |  | source well transfer (nL) | 1750
Pipette into 384 Echo plate A3-P3 and A4-C4
1 | Make master mix and add 55uL of STEP 3 master mix into each well for wells A3-P3 and A4-C4 of the same PP 2.0 Plus Echo Source Plate used in STEP 2.
2 | Seal the each plate after adding the master mix.
3 | Use the ECHO ReverseTranscriptase_4quadrants protocol to transfer 1750nL into all wells.
4 | Spin down, making sure there are no bubbles in wells.
5 | Place plate into thermocycler following the program below.
Note: It is suggested to start working on STEP 4 (MULTIPLEXING PCR) 30mins before the end of the STEP 3 incubations.
| Program | Reverse Transcription
| Lid | 105°C
| Volume | 5μL
|  | Temp | Time
| Step 1 | 25°C | 5min
| Step 2 | 42°C | 50min
| Step 3 | 70°C | 10min
| Step 4 | 4°C | hold
STEP 4. MULTIPLEXING PCR - Dragonfly ALIQUOT AND BRAVO TRANSFER
* Since only a portion of cDNA is taken into the multiplex PCR step, all reagents are 1/5 of original formulation.
Note: Prior to starting ensure that primer pools are at 10μM working solution. If not, dilute 100μM primer pools to 10μM.
MAKE SURE THE PRIMERS ARE (COMET- ARTIC V3 PRIMERS) (NOT THE TAILED ONES)
1 | Thaw all reagents on ice. Mix and spin down. Do not vortex enzymes.
Fixed # of Reactions
| Pool 1 Primers (Odd primers, previously "pool A") |  |  | 400
|  |  | 1x Reaction Volume (uL) | Master Mix (uL)
|  | NEBNext Ultra II Q5 Hot Start 2x Master Mix | 2.5 | 1115
|  | Primer Pool 1 (10μM) | 0.8 | 368
|  | Nuclease-free Water | 0.2 | 92
|  | cDNA from Step 1 | 1.5
|  | Total | 5 | 1610
| Pool 2 Primers (Even primers, previously "pool B") |  |  | Fixed # of Reactions
400
|  |  | 1x Reaction Volume (uL) | Master Mix (uL)
|  | NEBNext Ultra II Q5 Hot Start 2x Master Mix | 2.5 | 1115
|  | Primer Pool 2 (10μM) | 0.8 | 368
|  | Nuclease-free Water | 0.2 | 92
|  | cDNA from Step 1 | 1.5
|  | Total | 5 | 1610
2 | Dispense 3.5μL of the multiplex PCR master mix #1 into each well of a Biorad, skirted 384-well plate using the Dragonfly
Protocol: "Amplicon LDV" in COMET folder
Set up cold block (Located in 4°C labeled "Dragonfly"), LDV reservoir, and syringe
Pipette ~1420µL pool 1 mastermix into reservoir, make sure that there are no bubbles
3 | Label the above plate as pool 1 (labeled primer 1)
Reset the dragonfly and replace with new syringes between uses
4 | Open bravo protocol in COMET folder: cDNA_PoolA_PoolB.pro (location:
5 | Dispense 3.5μL of the multiplex PCR master mix #2 into each well of a Biorad, skirted 384-well plate using the Dragonfly
6 | Label the above plate as pool 2 (labeled primer2)
7 | Transfer 1.5uL of cDNA in the Pool 1 plate using the Bravo. |  | *Can use bravo protocol in COMET folder: cDNA_PoolA_PoolB.pro
8 | Transfer 1.5uL of cDNA in the Pool 2 plate using the Bravo.
9 | Seal the each plate after adding the master mix.
10 | Spin down the plates, making sure there are no bubbles in wells.
11 | Place the plate into the labeled ARTIC thermocycler in the SeqLab following the program below. **Start program when before starting to aliquot**
| Program | Multiplex PCR
| Lid | 105°C
| Volume | 5μL
|  | Temp | Time | Cycle
| Step 1 | 98°C | 30s | 1
| Step 2 | 98°C | 15s | 30
| Step 3 | 63°C | 5min
| Step 4 | 4°C | hold | 1

## 2) Lib Prep - Tagmentation
STEP 5.5: Pool A+B MERGE AND 1:100 DILUTION (post-PCR ONLY)
1 | Spin down pool 1 and pool 2 plates | [8 empty] | Set up and initialize Integra
2 | Dispense 2µL from pool 1 and pool 2 plates into a new 384-well skirted BioRad plate using Intergra (labeled "L-XXX 1+ 2 plate") | [7 empty] | More edits to add:
3 | Spin down all plates | [7 empty] | *integra speed
4 | Aspirate 0.5µL from 1+2 plate and dispense into 49.5µL H2O (premade plates located in pre-PCR 4°C)
5 | On the Integra, select the Pipette/Mix option to ensure proper mixing of sample into water plate for 1:100 dilution
*add tagmentation stock recipe/instructions
|  | Program | Pipette/Mix | [5 empty] | *backup with dragonfly/integra for neutralization protocol
|  | Aspirate | 10µL | [5 empty] | *consistency with naming protocols on mosquito/dragonfly
|  | Dispense | 8µL | [5 empty] | *archive old echo protocol/bravo
|  | Mix | 10x | [5 empty] | *Q5 dragonfly LDV protocol (3.5µL per well)
9 | Aspirate 0.5µL (0.1uL for dead volume and 0.4uL net transferred) into a new 384 well skirted BioRad plate with the Intergra (labeled "Tagme plate")
10 | Seal and spin down plates
11 | Seal store, tape together plates and store all unused in -20°C
STEP 6: TAGMENTATION -MOSQUITO ALIQUOT & INTEGRA STAMP
*DMF always in hood
1 | Thaw all reagents on ice. Mix and spin down. Do not vortex enzymes.
2 | Prepare the tagmentation master mix. Make fresh each time.
Fixed # of Reactions
400
|  |  | 1x Reaction Volume (uL) | Master Mix (uL)
|  | Amplicon DNA | 0.4
|  | TAG Buffer (From 2.18X stock) | 0.91429 | 512 | Location: TAG buffer can be found in the -20 C Cheshire Cat freezer in main BSL1 Lab (box labelled COMET Tag Buffer Aliquots)
|  | DMF | 0.08 | 44.8 | Location: DMF is below the chemical hood in the main lab (close to the lab kitchen area)
|  | HB Tn5 | 0.20571 | 115.2 | Location: Tn5 is in the COMET box in the -80C freeer in the main lab (last freezer top shelf)
|  | Total | 1.6 | 672
|  |  | # source wells: | 16
|  |  | uL/well: | 38.4
Pipette into wells A1-P1 of a new 384-well plate
3 | Mix HB Tn5 and 2.18x TAG together on ice.
4 | Add DMF in the fume hood by the main chemical inventory with lab coat on.
Note: Make sure to toss any tips and tubes that come in contact with DMF into a chemical waste container for DMF.
5 | While on ice, pipette the HB TAG Mix into wells A1-P1 of a Biorad, skirted 384-well plate.
Note: Make sure to toss any tips and tubes that come in contact with DMF into a chemical waste container for DMF.
6 | Spin down the plate.
7 | Transfer 1.2uL of the tagmentation buffer using the Mosquito (Use Seqlab low volume) and the save the plate for later use.
8 | Transfer 0.5 uL of the cleaned amplicon (0.1uL for dead volume and 0.4uL net transfered) to a new plate with the Integra.
9 | Seal each plate after adding the tagmentation mix.
10 | Spin down, making sure there are no bubbles in wells.
11 | Place plate into thermocycler following the program below
| Program | Tagmentation |  | Temp | Time
| Lid | 105°C | Step 1 | 55°C | 5min
| Volume | 2μL | Step 2 | 4°C | hold
12 | Remove plate from the thermocycler, make sure the lid of the plates are at room temperature. Immediately move onto STEP 7
STEP 7: TN5 NEUTRALIZATION - MOSQUITO ALIQUOT
*protocol for neutralization buffer (recipe)
# of Reactions
384
|  |  | 1x Reaction Volume (uL) | Master Mix (uL)
|  | Tagmented DNA | 1.6
|  | Neutralization Buffer | 0.4 | 184.32 | Location: Neutralization Buffer is premade and pre aliquoted an can be found in the box labelled NT BUFFER on the bench in the main lab
|  | Total | 2 | 184.32
|  |  | # source wells: | 16
|  |  | uL/well: | 12
Pipette into wells A3-P3 of a 384-well plate
1 | Pipette the neutralization buffer into wells A3-P3 of the Biorad, skirted 384-well plate from STEP 6.
2 | Spin down the plate.
3 | Dispense 0.4μL of the Tn5 Neutralization master mix into each well using the LOW VOLUME Mosquito |  |  |  | *NOTE: 3rd floor Mosquito CANNOT be used for neutralization step (need low volume), but can be used for tagmentation and pooling steps
Open "NT plate 1" program on the computer
4 | Seal each plates after adding the neutralization mix.
5 | Spin down neutralized plate at full speed for 5min at room temperature.
STEP 8: NEXTERA PCR REACTION -INTEGRA STAMP
1x Reaction Volume (uL)
|  | Tagmented product | 2 |  | *edit for new
|  | Q5 Plate | 2.8
|  | Nextera Dual Index Barcodes | 0.8
|  | Total per well | 5.6
*integra speed: 4 (standard setting)
1 | Thaw a Nextera dual index barcode plate.
2 | Write down which plate you are using here ______. Check to see most recently used DBP in the gdrive and select sequential plate.
3 | Obtain a pre-aliquoted Q5 plate in the pre-PCR room (-20C freezer) and keep on cold block
4 | Q5 plate should thaw fast. Spin it down at maximum speed for a minute.
5 | Using Integra, Stamp 0.8µL from the dual barcode plate to your neutralized clean amplicon plate
6 | Using the same tips, stamp 2.8 uL from the Q5 plate to the plate with neutralized and cleaned amplicons.
7 | Seal and spin all plates, making sure that there are no bubbles in the wells.
8 | Place the plate into the labeled ARTIC thermocycler in the SeqLab following the program below.
| Program | Index_PCR |  | Temp | Time | Cycle
| Lid | 105°C | Step 1 | 72°C | 3min | 1
| Volume | 4μL | Step 2 | 95°C | 30s | 1
|  |  | Step 3 | 95°C | 10s | 8
|  |  | Step 4 | 55°C | 30s
|  |  | Step 5 | 72°C | 1min
|  |  | Step 6 | 72°C | 5min | 1
|  |  | Step 7 | 4°C | hold | 1
STEP 9: POOL WITH MOSQUITO AND SPRI BEAD CLEAN
1 | Pool 2μL from each of the 384 wells using the Mosquito
Open "2000µL 1 plate" program on the computer
2 | Transfer sample using multichannel pippette into sterile reservoir
3 | Note down value of recovered volume and transfer to eppendorf tube
4 | Warm up SPRI beads at room temperature.
5 | Vortex SPRI beads and spin down.
6 | Add 0.7x of SPRI beads (for example, if you have 700uL of sample, add 480uL of SPRI).
7 | Mix the beads and the samples.
8 | Incubate the samples for 5min at room temperature.
9 | Place the sample tube on a magnet for 10mins.
10 | Keeping the tube on the magnet, remove the supernatant from the sample tube.
11 | Keeping the tube on the magnet, add 1mL of freshly-made 80% EtOH to your pool.
12 | Wait for 1min.
13 | Repeat steps 10-12.
14 | Keeping the tube on the magnet, remove the supernatant from the sample tube.
15 | Close the tube and briefly spin it using a microcentrifuge.
16 | Let the tube dry off the magnet for 5min. The tube might require up to 15mins total to dry out.
17 | Note: If the beads are shiny, they are still not dry. They appear matte when they are dried. If you see cracks on the dried beads, they are overdried.
18 | Resuspend beads off the magnet in plate with 53μL of water by mixing.
19 | Incubate for 5min off the magnet.
20 | Place the tube on the magnet for 5min to elute.
21 | Transfer 50μL of the eluant to a new tube.
QC VIA TAPESTATION AND SUBMIT FOR SEQUENCING
1 | Take all reagents and tape out to room temperature.
2 | Pipette 1µL of eluant into 10µL of buffer (D5000)
3 | Pipette 1µL of ladder into 10µL of buffer (D5000) (save ladder when finished for later use and store in 4°C).
4 | Vortex and spin down samples.
5 | Run samples on Tapestation
On TS, change name, description, and labels for samples
| Insert tape and samples --> Start |  |  | Save ladder for few days/1 week
When completed, apply region settings 200-1000bp
Create report file and upload to relevant experiment folder
Submit sequencing submission form and sample sheet
Note volume and molarity of submission.
Pooling instructions for 2 seq runs (equimolar equivolume)
BACKUP PROTOCOL
STEP 7: TN5 NEUTRALIZATION - DRAGONFLY AND INTEGRA ALIQUOT
| If the 4th floor Mosquito is unavailable, you can use the 3rd floor Mosquito to complete the tagmentation and pooling step (it cannot complete the neutralization step) | [6 empty] | *Backup protocols
*addendum for 2 seqs at a time
[5 empty] | # of Reactions |  |  | *trello updates throughout
[5 empty] | 384 |  |  | *C-Comet updates
|  |  |  | 1x Reaction Volume (uL) | Master Mix (uL) |  |  | *experimental masterlist updates
|  |  | Tagmented DNA | 1.6
|  |  | Neutralization Buffer | 0.4 | 280
|  |  | Total | 2 | 280
1 | Add 280uL of neutralization buffer into the Dragonfly reservoir.
2 | Dispense 0.7μL of neutralization buffer into each well of a Biorad, skirted 384-well plate using the Dragonfly
3 | Spin down plate and transfer 0.5uL of neutralization buffer into the tagmented plate using the Integra.

## dNTPS HEXAMER PRIMING REACTION
Source Well | Transfer Volume | Destination Well
A1 | 500 | A1
B1 | 500 | A2
C1 | 500 | A3
D1 | 500 | A4
E1 | 500 | A5
F1 | 500 | A6
A1 | 500 | A7
B1 | 500 | A8
C1 | 500 | A9
D1 | 500 | A10
E1 | 500 | A11
F1 | 500 | A12
A1 | 500 | A13
B1 | 500 | A14
C1 | 500 | A15
D1 | 500 | A16
E1 | 500 | A17
F1 | 500 | A18
A1 | 500 | A19
B1 | 500 | A20
C1 | 500 | A21
D1 | 500 | A22
E1 | 500 | A23
F1 | 500 | A24
A1 | 500 | B1
B1 | 500 | B2
C1 | 500 | B3
D1 | 500 | B4
E1 | 500 | B5
F1 | 500 | B6
A1 | 500 | B7
B1 | 500 | B8
C1 | 500 | B9
D1 | 500 | B10
E1 | 500 | B11
F1 | 500 | B12
A1 | 500 | B13
B1 | 500 | B14
C1 | 500 | B15
D1 | 500 | B16
E1 | 500 | B17
F1 | 500 | B18
A1 | 500 | B19
B1 | 500 | B20
C1 | 500 | B21
D1 | 500 | B22
E1 | 500 | B23
F1 | 500 | B24
A1 | 500 | C1
B1 | 500 | C2
C1 | 500 | C3
D1 | 500 | C4
E1 | 500 | C5
F1 | 500 | C6
A1 | 500 | C7
B1 | 500 | C8
C1 | 500 | C9
D1 | 500 | C10
E1 | 500 | C11
F1 | 500 | C12
A1 | 500 | C13
B1 | 500 | C14
C1 | 500 | C15
D1 | 500 | C16
E1 | 500 | C17
F1 | 500 | C18
A1 | 500 | C19
B1 | 500 | C20
C1 | 500 | C21
D1 | 500 | C22
E1 | 500 | C23
F1 | 500 | C24
A1 | 500 | D1
B1 | 500 | D2
C1 | 500 | D3
D1 | 500 | D4
E1 | 500 | D5
F1 | 500 | D6
A1 | 500 | D7
B1 | 500 | D8
C1 | 500 | D9
D1 | 500 | D10
E1 | 500 | D11
F1 | 500 | D12
A1 | 500 | D13
B1 | 500 | D14
C1 | 500 | D15
D1 | 500 | D16
E1 | 500 | D17
F1 | 500 | D18
A1 | 500 | D19
B1 | 500 | D20
C1 | 500 | D21
D1 | 500 | D22
E1 | 500 | D23
F1 | 500 | D24
A1 | 500 | E1
B1 | 500 | E2
C1 | 500 | E3
D1 | 500 | E4
E1 | 500 | E5
F1 | 500 | E6
A1 | 500 | E7
B1 | 500 | E8
C1 | 500 | E9
D1 | 500 | E10
E1 | 500 | E11
F1 | 500 | E12
A1 | 500 | E13
B1 | 500 | E14
C1 | 500 | E15
D1 | 500 | E16
E1 | 500 | E17
F1 | 500 | E18
A1 | 500 | E19
B1 | 500 | E20
C1 | 500 | E21
D1 | 500 | E22
E1 | 500 | E23
F1 | 500 | E24
A1 | 500 | F1
B1 | 500 | F2
C1 | 500 | F3
D1 | 500 | F4
E1 | 500 | F5
F1 | 500 | F6
A1 | 500 | F7
B1 | 500 | F8
C1 | 500 | F9
D1 | 500 | F10
E1 | 500 | F11
F1 | 500 | F12
A1 | 500 | F13
B1 | 500 | F14
C1 | 500 | F15
D1 | 500 | F16
E1 | 500 | F17
F1 | 500 | F18
A1 | 500 | F19
B1 | 500 | F20
C1 | 500 | F21
D1 | 500 | F22
E1 | 500 | F23
F1 | 500 | F24
A1 | 500 | G1
B1 | 500 | G2
C1 | 500 | G3
D1 | 500 | G4
E1 | 500 | G5
F1 | 500 | G6
A1 | 500 | G7
B1 | 500 | G8
C1 | 500 | G9
D1 | 500 | G10
E1 | 500 | G11
F1 | 500 | G12
A1 | 500 | G13
B1 | 500 | G14
C1 | 500 | G15
D1 | 500 | G16
E1 | 500 | G17
F1 | 500 | G18
A1 | 500 | G19
B1 | 500 | G20
C1 | 500 | G21
D1 | 500 | G22
E1 | 500 | G23
F1 | 500 | G24
A1 | 500 | H1
B1 | 500 | H2
C1 | 500 | H3
D1 | 500 | H4
E1 | 500 | H5
F1 | 500 | H6
A1 | 500 | H7
B1 | 500 | H8
C1 | 500 | H9
D1 | 500 | H10
E1 | 500 | H11
F1 | 500 | H12
A1 | 500 | H13
B1 | 500 | H14
C1 | 500 | H15
D1 | 500 | H16
E1 | 500 | H17
F1 | 500 | H18
A1 | 500 | H19
B1 | 500 | H20
C1 | 500 | H21
D1 | 500 | H22
E1 | 500 | H23
F1 | 500 | H24
A1 | 500 | I1
B1 | 500 | I2
C1 | 500 | I3
D1 | 500 | I4
E1 | 500 | I5
F1 | 500 | I6
A1 | 500 | I7
B1 | 500 | I8
C1 | 500 | I9
D1 | 500 | I10
E1 | 500 | I11
F1 | 500 | I12
A1 | 500 | I13
B1 | 500 | I14
C1 | 500 | I15
D1 | 500 | I16
E1 | 500 | I17
F1 | 500 | I18
A1 | 500 | I19
B1 | 500 | I20
C1 | 500 | I21
D1 | 500 | I22
E1 | 500 | I23
F1 | 500 | I24
A1 | 500 | J1
B1 | 500 | J2
C1 | 500 | J3
D1 | 500 | J4
E1 | 500 | J5
F1 | 500 | J6
A1 | 500 | J7
B1 | 500 | J8
C1 | 500 | J9
D1 | 500 | J10
E1 | 500 | J11
F1 | 500 | J12
A1 | 500 | J13
B1 | 500 | J14
C1 | 500 | J15
D1 | 500 | J16
E1 | 500 | J17
F1 | 500 | J18
A1 | 500 | J19
B1 | 500 | J20
C1 | 500 | J21
D1 | 500 | J22
E1 | 500 | J23
F1 | 500 | J24
A1 | 500 | K1
B1 | 500 | K2
C1 | 500 | K3
D1 | 500 | K4
E1 | 500 | K5
F1 | 500 | K6
A1 | 500 | K7
B1 | 500 | K8
C1 | 500 | K9
D1 | 500 | K10
E1 | 500 | K11
F1 | 500 | K12
A1 | 500 | K13
B1 | 500 | K14
C1 | 500 | K15
D1 | 500 | K16
E1 | 500 | K17
F1 | 500 | K18
A1 | 500 | K19
B1 | 500 | K20
C1 | 500 | K21
D1 | 500 | K22
E1 | 500 | K23
F1 | 500 | K24
A1 | 500 | L1
B1 | 500 | L2
C1 | 500 | L3
D1 | 500 | L4
E1 | 500 | L5
F1 | 500 | L6
A1 | 500 | L7
B1 | 500 | L8
C1 | 500 | L9
D1 | 500 | L10
E1 | 500 | L11
F1 | 500 | L12
A1 | 500 | L13
B1 | 500 | L14
C1 | 500 | L15
D1 | 500 | L16
E1 | 500 | L17
F1 | 500 | L18
A1 | 500 | L19
B1 | 500 | L20
C1 | 500 | L21
D1 | 500 | L22
E1 | 500 | L23
F1 | 500 | L24
A1 | 500 | M1
B1 | 500 | M2
C1 | 500 | M3
D1 | 500 | M4
E1 | 500 | M5
F1 | 500 | M6
A1 | 500 | M7
B1 | 500 | M8
C1 | 500 | M9
D1 | 500 | M10
E1 | 500 | M11
F1 | 500 | M12
A1 | 500 | M13
B1 | 500 | M14
C1 | 500 | M15
D1 | 500 | M16
E1 | 500 | M17
F1 | 500 | M18
A1 | 500 | M19
B1 | 500 | M20
C1 | 500 | M21
D1 | 500 | M22
E1 | 500 | M23
F1 | 500 | M24
A1 | 500 | N1
B1 | 500 | N2
C1 | 500 | N3
D1 | 500 | N4
E1 | 500 | N5
F1 | 500 | N6
A1 | 500 | N7
B1 | 500 | N8
C1 | 500 | N9
D1 | 500 | N10
E1 | 500 | N11
F1 | 500 | N12
A1 | 500 | N13
B1 | 500 | N14
C1 | 500 | N15
D1 | 500 | N16
E1 | 500 | N17
F1 | 500 | N18
A1 | 500 | N19
B1 | 500 | N20
C1 | 500 | N21
D1 | 500 | N22
E1 | 500 | N23
F1 | 500 | N24
A1 | 500 | O1
B1 | 500 | O2
C1 | 500 | O3
D1 | 500 | O4
E1 | 500 | O5
F1 | 500 | O6
A1 | 500 | O7
B1 | 500 | O8
C1 | 500 | O9
D1 | 500 | O10
E1 | 500 | O11
F1 | 500 | O12
A1 | 500 | O13
B1 | 500 | O14
C1 | 500 | O15
D1 | 500 | O16
E1 | 500 | O17
F1 | 500 | O18
A1 | 500 | O19
B1 | 500 | O20
C1 | 500 | O21
D1 | 500 | O22
E1 | 500 | O23
F1 | 500 | O24
A1 | 500 | P1
B1 | 500 | P2
C1 | 500 | P3
D1 | 500 | P4
E1 | 500 | P5
F1 | 500 | P6
A1 | 500 | P7
B1 | 500 | P8
C1 | 500 | P9
D1 | 500 | P10
E1 | 500 | P11
F1 | 500 | P12
A1 | 500 | P13
B1 | 500 | P14
C1 | 500 | P15
D1 | 500 | P16
E1 | 500 | P17
F1 | 500 | P18
A1 | 500 | P19
B1 | 500 | P20
C1 | 500 | P21
D1 | 500 | P22
E1 | 500 | P23
F1 | 500 | P24

## REVERSE TRANSCRIPTION REACTION
Source Well | Transfer Volume | Destination Well
A3 | 1750 | A1
B3 | 1750 | A2
C3 | 1750 | A3
D3 | 1750 | A4
E3 | 1750 | A5
F3 | 1750 | A6
G3 | 1750 | A7
H3 | 1750 | A8
I3 | 1750 | A9
J3 | 1750 | A10
K3 | 1750 | A11
L3 | 1750 | A12
M3 | 1750 | A13
N3 | 1750 | A14
O3 | 1750 | A15
P3 | 1750 | A16
A4 | 1750 | A17
B4 | 1750 | A18
C4 | 1750 | A19
A3 | 1750 | A20
B3 | 1750 | A21
C3 | 1750 | A22
D3 | 1750 | A23
E3 | 1750 | A24
F3 | 1750 | B1
G3 | 1750 | B2
H3 | 1750 | B3
I3 | 1750 | B4
J3 | 1750 | B5
K3 | 1750 | B6
L3 | 1750 | B7
M3 | 1750 | B8
N3 | 1750 | B9
O3 | 1750 | B10
P3 | 1750 | B11
A4 | 1750 | B12
B4 | 1750 | B13
C4 | 1750 | B14
A3 | 1750 | B15
B3 | 1750 | B16
C3 | 1750 | B17
D3 | 1750 | B18
E3 | 1750 | B19
F3 | 1750 | B20
G3 | 1750 | B21
H3 | 1750 | B22
I3 | 1750 | B23
J3 | 1750 | B24
K3 | 1750 | C1
L3 | 1750 | C2
M3 | 1750 | C3
N3 | 1750 | C4
O3 | 1750 | C5
P3 | 1750 | C6
A4 | 1750 | C7
B4 | 1750 | C8
C4 | 1750 | C9
A3 | 1750 | C10
B3 | 1750 | C11
C3 | 1750 | C12
D3 | 1750 | C13
E3 | 1750 | C14
F3 | 1750 | C15
G3 | 1750 | C16
H3 | 1750 | C17
I3 | 1750 | C18
J3 | 1750 | C19
K3 | 1750 | C20
L3 | 1750 | C21
M3 | 1750 | C22
N3 | 1750 | C23
O3 | 1750 | C24
P3 | 1750 | D1
A4 | 1750 | D2
B4 | 1750 | D3
C4 | 1750 | D4
A3 | 1750 | D5
B3 | 1750 | D6
C3 | 1750 | D7
D3 | 1750 | D8
E3 | 1750 | D9
F3 | 1750 | D10
G3 | 1750 | D11
H3 | 1750 | D12
I3 | 1750 | D13
J3 | 1750 | D14
K3 | 1750 | D15
L3 | 1750 | D16
M3 | 1750 | D17
N3 | 1750 | D18
O3 | 1750 | D19
P3 | 1750 | D20
A4 | 1750 | D21
B4 | 1750 | D22
C4 | 1750 | D23
A3 | 1750 | D24
B3 | 1750 | E1
C3 | 1750 | E2
D3 | 1750 | E3
E3 | 1750 | E4
F3 | 1750 | E5
G3 | 1750 | E6
H3 | 1750 | E7
I3 | 1750 | E8
J3 | 1750 | E9
K3 | 1750 | E10
L3 | 1750 | E11
M3 | 1750 | E12
N3 | 1750 | E13
O3 | 1750 | E14
P3 | 1750 | E15
A4 | 1750 | E16
B4 | 1750 | E17
C4 | 1750 | E18
A3 | 1750 | E19
B3 | 1750 | E20
C3 | 1750 | E21
D3 | 1750 | E22
E3 | 1750 | E23
F3 | 1750 | E24
G3 | 1750 | F1
H3 | 1750 | F2
I3 | 1750 | F3
J3 | 1750 | F4
K3 | 1750 | F5
L3 | 1750 | F6
M3 | 1750 | F7
N3 | 1750 | F8
O3 | 1750 | F9
P3 | 1750 | F10
A4 | 1750 | F11
B4 | 1750 | F12
C4 | 1750 | F13
A3 | 1750 | F14
B3 | 1750 | F15
C3 | 1750 | F16
D3 | 1750 | F17
E3 | 1750 | F18
F3 | 1750 | F19
G3 | 1750 | F20
H3 | 1750 | F21
I3 | 1750 | F22
J3 | 1750 | F23
K3 | 1750 | F24
L3 | 1750 | G1
M3 | 1750 | G2
N3 | 1750 | G3
O3 | 1750 | G4
P3 | 1750 | G5
A4 | 1750 | G6
B4 | 1750 | G7
C4 | 1750 | G8
A3 | 1750 | G9
B3 | 1750 | G10
C3 | 1750 | G11
D3 | 1750 | G12
E3 | 1750 | G13
F3 | 1750 | G14
G3 | 1750 | G15
H3 | 1750 | G16
I3 | 1750 | G17
J3 | 1750 | G18
K3 | 1750 | G19
L3 | 1750 | G20
M3 | 1750 | G21
N3 | 1750 | G22
O3 | 1750 | G23
P3 | 1750 | G24
A4 | 1750 | H1
B4 | 1750 | H2
C4 | 1750 | H3
A3 | 1750 | H4
B3 | 1750 | H5
C3 | 1750 | H6
D3 | 1750 | H7
E3 | 1750 | H8
F3 | 1750 | H9
G3 | 1750 | H10
H3 | 1750 | H11
I3 | 1750 | H12
J3 | 1750 | H13
K3 | 1750 | H14
L3 | 1750 | H15
M3 | 1750 | H16
N3 | 1750 | H17
O3 | 1750 | H18
P3 | 1750 | H19
A4 | 1750 | H20
B4 | 1750 | H21
C4 | 1750 | H22
A3 | 1750 | H23
B3 | 1750 | H24
C3 | 1750 | I1
D3 | 1750 | I2
E3 | 1750 | I3
F3 | 1750 | I4
G3 | 1750 | I5
H3 | 1750 | I6
I3 | 1750 | I7
J3 | 1750 | I8
K3 | 1750 | I9
L3 | 1750 | I10
M3 | 1750 | I11
N3 | 1750 | I12
O3 | 1750 | I13
P3 | 1750 | I14
A4 | 1750 | I15
B4 | 1750 | I16
C4 | 1750 | I17
A3 | 1750 | I18
B3 | 1750 | I19
C3 | 1750 | I20
D3 | 1750 | I21
E3 | 1750 | I22
F3 | 1750 | I23
G3 | 1750 | I24
H3 | 1750 | J1
I3 | 1750 | J2
J3 | 1750 | J3
K3 | 1750 | J4
L3 | 1750 | J5
M3 | 1750 | J6
N3 | 1750 | J7
O3 | 1750 | J8
P3 | 1750 | J9
A4 | 1750 | J10
B4 | 1750 | J11
C4 | 1750 | J12
A3 | 1750 | J13
B3 | 1750 | J14
C3 | 1750 | J15
D3 | 1750 | J16
E3 | 1750 | J17
F3 | 1750 | J18
G3 | 1750 | J19
H3 | 1750 | J20
I3 | 1750 | J21
J3 | 1750 | J22
K3 | 1750 | J23
L3 | 1750 | J24
M3 | 1750 | K1
N3 | 1750 | K2
O3 | 1750 | K3
P3 | 1750 | K4
A4 | 1750 | K5
B4 | 1750 | K6
C4 | 1750 | K7
A3 | 1750 | K8
B3 | 1750 | K9
C3 | 1750 | K10
D3 | 1750 | K11
E3 | 1750 | K12
F3 | 1750 | K13
G3 | 1750 | K14
H3 | 1750 | K15
I3 | 1750 | K16
J3 | 1750 | K17
K3 | 1750 | K18
L3 | 1750 | K19
M3 | 1750 | K20
N3 | 1750 | K21
O3 | 1750 | K22
P3 | 1750 | K23
A4 | 1750 | K24
B4 | 1750 | L1
C4 | 1750 | L2
A3 | 1750 | L3
B3 | 1750 | L4
C3 | 1750 | L5
D3 | 1750 | L6
E3 | 1750 | L7
F3 | 1750 | L8
G3 | 1750 | L9
H3 | 1750 | L10
I3 | 1750 | L11
J3 | 1750 | L12
K3 | 1750 | L13
L3 | 1750 | L14
M3 | 1750 | L15
N3 | 1750 | L16
O3 | 1750 | L17
P3 | 1750 | L18
A4 | 1750 | L19
B4 | 1750 | L20
C4 | 1750 | L21
A3 | 1750 | L22
B3 | 1750 | L23
C3 | 1750 | L24
D3 | 1750 | M1
E3 | 1750 | M2
F3 | 1750 | M3
G3 | 1750 | M4
H3 | 1750 | M5
I3 | 1750 | M6
J3 | 1750 | M7
K3 | 1750 | M8
L3 | 1750 | M9
M3 | 1750 | M10
N3 | 1750 | M11
O3 | 1750 | M12
P3 | 1750 | M13
A4 | 1750 | M14
B4 | 1750 | M15
C4 | 1750 | M16
A3 | 1750 | M17
B3 | 1750 | M18
C3 | 1750 | M19
D3 | 1750 | M20
E3 | 1750 | M21
F3 | 1750 | M22
G3 | 1750 | M23
H3 | 1750 | M24
I3 | 1750 | N1
J3 | 1750 | N2
K3 | 1750 | N3
L3 | 1750 | N4
M3 | 1750 | N5
N3 | 1750 | N6
O3 | 1750 | N7
P3 | 1750 | N8
A4 | 1750 | N9
B4 | 1750 | N10
C4 | 1750 | N11
A3 | 1750 | N12
B3 | 1750 | N13
C3 | 1750 | N14
D3 | 1750 | N15
E3 | 1750 | N16
F3 | 1750 | N17
G3 | 1750 | N18
H3 | 1750 | N19
I3 | 1750 | N20
J3 | 1750 | N21
K3 | 1750 | N22
L3 | 1750 | N23
M3 | 1750 | N24
N3 | 1750 | O1
O3 | 1750 | O2
P3 | 1750 | O3
A4 | 1750 | O4
B4 | 1750 | O5
C4 | 1750 | O6
A3 | 1750 | O7
B3 | 1750 | O8
C3 | 1750 | O9
D3 | 1750 | O10
E3 | 1750 | O11
F3 | 1750 | O12
G3 | 1750 | O13
H3 | 1750 | O14
I3 | 1750 | O15
J3 | 1750 | O16
K3 | 1750 | O17
L3 | 1750 | O18
M3 | 1750 | O19
N3 | 1750 | O20
O3 | 1750 | O21
P3 | 1750 | O22
A4 | 1750 | O23
B4 | 1750 | O24
C4 | 1750 | P1
A3 | 1750 | P2
B3 | 1750 | P3
C3 | 1750 | P4
D3 | 1750 | P5
E3 | 1750 | P6
F3 | 1750 | P7
G3 | 1750 | P8
H3 | 1750 | P9
I3 | 1750 | P10
J3 | 1750 | P11
K3 | 1750 | P12
L3 | 1750 | P13
M3 | 1750 | P14
N3 | 1750 | P15
O3 | 1750 | P16
P3 | 1750 | P17
A4 | 1750 | P18
B4 | 1750 | P19
C4 | 1750 | P20
A3 | 1750 | P21
B3 | 1750 | P22
C3 | 1750 | P23
D3 | 1750 | P24